## Slide 1: Notebooks and Napari Widgets for Deep Learning
Brian Northan

## Slide 2: Notebooks and Napari Widgets for Deep Learning

## Slide 3: Notebooks and Napari Widgets for Deep Learning
Brian Northan
Contract R&D Engineer Imaging Processing True North Intelligent Algorithms
Contributor: ImageJ-Ops, CLIJ, Image.sc

## Slide 4: Outline
Napari basics
Train/Validate on one image
  with Napari ROIs

## Slide 5: Outline
Sparse
  Stardist with sparse labels
Scale
  Cellpose at different scales
  Stardist receptive field
  thin protrusions
  Lady bugs at different scales

## Slide 6: Outline
Segment anything and everything (SAM)
  visualizing overlapping SAM labels
  Segment everything and filter

## Slide 7: Instance segmentation

## Slide 8: Links to projects used in this presentation
Link to slides
Course material from virtual I2k2024
tnia-python - My helper library

## Slide 9: Links to projects used in this presentation
easy-augment-batch-dl deep learning on image sets with UNETs, Cellpose, Stardist, SAM and friends.
segment-everything - Utilities for rendering and training prompt-based and overlapping segmentation models (like SAM).
napari-segment-everything - This is a Napari GUI for segment-everything

## Slide 10: Under Construction

## Slide 11: Training, Validation and Test sets
Training - data that is input to the model
  ideally get almost ‘perfect’ results when predicting on training set
Validation
  Data not fed to model
  used to tune parameters during training.
Test
  unseen partition
  used to evaluate how well model generalize

## Slide 12
Bee Predictions

## Slide 13: Napari basics

## Slide 14: Why use Napari for DL workflows ?
ROIs
Layers
Labelling tools

## Slide 15: Test image

## Slide 16: Start Napari and add layers
viewer = napari.Viewer() labels = np.zeros([img.shape[0], img.shape[1]], dtype=np.uint16) viewer.add_image(img, name='ladybug') viewer.add_labels(labels, name='labels') rois_layer = viewer.add_shapes(face_color='transparent', edge_width=15, edge_color='blue', name='rois') box = [[100,100], [100,800],[800,800], [800,100]] rois_layer.add_rectangles(box)

## Slide 17: Add a cellpose layer
from cellpose import models, io model_cyto3 = models.CellposeModel(gpu=True, model_type="cyto3") results = np.zeros([img.shape[0], img.shape[1]], dtype=np.uint16) viewer.add_labels(results, name='cyto3 masks') results = model_cyto3.eval(img, diameter=140) viewer.layers['cyto3 masks'].data = results[0]

## Slide 18: Train and test model on a single image

## Slide 19: Why?
Proof of concept
Grants, SBIRs
Data sharing restrictions

## Slide 20: How?
Can’t just train/predict on same image
Use ROIs to divide image into training/validation

## Slide 21: Train and test model on a single image
Explore and label data with napari-easy-augment-batch-dl
  draw and label ROIs
Augment and crop to create patches (hundreds)
Train
Predict and fix mistakes

## Slide 23: Augmentation
From single label can genrate hundred of augmented patches
Flip, rotate, resize
Random adjust brightness/contrast
Random adjust gamma
Color jitter
Elastic transform

## Slide 24: Augmentation
Save explicitly?
  can be helpful for troubleshooting, performance and repeatability
Augment ‘inline’
  More variation, save diskspace

## Slide 26: Train
train on augmented patches

## Slide 27: Prediction
after training go back and predict
  correct mistakes

## Slide 30: Sparse Labeling
See CellSparse discusion

## Slide 31: Instance Labeling
2 groups
  Objects (assigned unique index)
  background (no index)
  Need to label everything in a patch

## Slide 33: Sparse Labeling
3 groups
  Objects
  Background
  Not labeled

## Slide 36: Sparse labeling
Why ?
  Save work
  Better sampling

## Slide 37: Sparse Labeling
Why not ?
  Fewer ‘edges’ between tightly clustered objects.

## Slide 38: Sparse Labels

## Slide 41: And the predictions

## Slide 45: Cellpose trained to learn scale
Use same Cellpose model to detect spheres of varying sizes in the same image
Common to use diameter parameter to rescale image
  May not work if different scales in the same image

## Slide 46: Phantom Image

## Slide 48: Process with Cyto2 and different diameters

## Slide 49: diameter=6

## Slide 51: diameter=30

## Slide 53: diameter=70

## Slide 55: diameter = 140

## Slide 57: Train custom model
train.train_seg(model_custom.net, X, Y, channels=[0,0], save_path=model_path, n_epochs=180, min_train_masks=1, normalize = False, rescale = False, model_name=model_name)

## Slide 58: Custom model (diameter=30)

## Slide 60: Stardist receptive field
region of input that influences output
impacted by striding, kernel size and number of layers

## Slide 61: Create a 2D Object

## Slide 62: Design Stardist 2D Network
Larger grid
  means larger stride thus ‘see’s’ more 1st level
Larger kernel
  see’s more each level
More levels
  each level images are downsampled
  kernels at that level process larger spacial region

## Slide 63: Empiricaly measure receptive field
see stardist 3D training example notebook
applies the model to a single point
measures how far information - flows
  doesn’t matter if the network has been trained
  just interested in information flow

## Slide 65: Large objects with protrusions
Image set courtesy of Arkajyoti Sarkar
See this Image.sc question
Combination of large cells and long fine irregular protrusions

## Slide 66: Cyto3 Results

## Slide 67: Challenges and considerations
Need to retrain to detect protrusions better
Cellpose rescales during training which could result in some loss of fine features.
Receptive field? During training and prediction do we need the entire cell and protrusions in receptive field of neural network?
  Receptive field may be more important in stardist, Cellpose ‘seems’ to predict good flows with tiling.

## Slide 68: Self-prediction
Train on one image, predict on same image.
Not going to get good generalization this way!
  but… a useful experiment to determine if model can code structure of interest.
Try to tune parameters to get ‘perfect’ self-prediction then move on to training a real model that generalizes.

## Slide 69: Training Strategy
Turn rescaling off to avoid losing resolution and this features.
Use larger bsize (crop size) to get more information in each training patch.
  (turned out this may not be that important)

## Slide 70: Training code
train.train_seg( model_finetuned_no_rescale_bsize_512.net, X_list, Y_list, channels=[2,3], save_path=parent_path, n_epochs=500, min_train_masks=0, rescale = False, model_name='no_rescale_bsize_512', normalize=False, bsize=512)

## Slide 71: Retrained defaults

## Slide 72: Retrained no rescaling

## Slide 73: Model training on sequence
140 images
10 labeled
no rescaling during training
bsize = 512
niter = 5000 during prediction

## Slide 74: Model training on sequence

## Slide 75: Model training on sequence

## Slide 76: Model training on sequence

## Slide 77: Model training on sequence

## Slide 78: Model training on sequence

## Slide 79: Ladybugs at different scales

## Slide 83: How to handle this ?
Scale related parameters
  Cellpose diameter
  Stardist scale
What if hundreds of images ?
  Can we train for different scales ?

## Slide 84: Self-Prediction
predict the training set

## Slide 88: Validation
predict other images in series

## Slide 94: What next ?
only 3 training images !
correct and relabel
  bigger training set
train for longer
  more training time needed for larger objects ?
consider auto-rescaling ?
consider other models

## Slide 95: Segment Everything ?
Can we segment everything with one generalist model ?
  maybe someday ?

## Slide 96: What is SAM ?
SAM stands for Segment Anything Model.
Prompt based generalist image segmentation.
  Prompt is hint
  can be a point, bounding box, or even a mask (first guess)

## Slide 97: What is SAM ?
Good at detecting overlapping objects (spots on Ladybugs)
  multiple prompts -> multiple masks
  masks may overlap
  if we want 2D label image need to ‘project’ 3D collection to 2D

## Slide 98: Viewing and exploring overlapping labels
this example uses mobile SAM and napari-segment-everything

## Slide 99: Viewing and exploring overlapping labels

## Slide 100: Segment bounding boxes

## Slide 101: SAM with Yolo bbs as prompt

## Slide 102: Rotate to see relationships

## Slide 103: Pan and zoom

## Slide 104: Filtering Labels
SAM can return hundreds or thousands of labels.
Many of the labels may not be of interest.

## Slide 105: Strategies to Filter labels
Train the prompt detector to also classify objects
  YOLO can be trained to classify then only keep the prompts corresponding to classes of interest.
Filter the labels by a criteria so we only keep objects of interest.
This example shows the latter strategy.

## Slide 106: Original and Segmented

## Slide 107: Filter

## Slide 109: Look at labels
Overlays